Multi-Height and Flow-Regime-Dependent Inputs Enhance Day-Ahead Wind Power Forecasting

Xin Xia1, Rong Zhu1,2, Rui Chang2, Martin Dörenkämper3, Peidu Li4, and Yong Luo1

1Ministry of Education Key Laboratory for Earth System Modeling, Department of Earth System Science, Tsinghua University, Beijing 100084, China

2National Climate Center of China Meteorological Administration (CMA), Beijing 100081, China

3Fraunhofer Institute for Wind Energy Systems, Bremerhaven, Germany

4Plateau Atmosphere and Environment Key Laboratory of Sichuan Province, School of At-mospheric Sciences, Chengdu University of Information Technology, Chengdu 610225, China

Corresponding author: Yong Luo (Yongluo@tsinghua.edu.cn)

Key Points:

- List up to three key points (at least one is required)

- Key Points summarize the main points and conclusions of the article

- Each must be 140 characters or less with no special characters or acronyms.

(The above elements should be on a title page)

Abstract

The abstract should be a single-paragraph of fewer than 250 words, or for Geophysical Research Letters, less than 150 words.  A good abstract sets the general question or topic that you are studying for the general reader, provides background on the specific question or problem, briefly describes key data or analyses, and describes the key results and uncertainties.  Please avoid acronyms or if used, define them.

Plain Language Summary

This is optional but will help expand the reach of your paper. Information on writing a good plain language summary is available here.

1 Introduction

Accurate day-ahead wind power forecasting is essential for power-system operation, electricity market, and the large-scale integration of variable renewable energy (Holttinen, 2005; Mahoney et al., 2012). The forecasting has been substantially advanced by the development of deep learning models (Liu & Zhang, 2024), and depends not only on models but fundamentally on the physical relevance of meteorological inputs (Optis & Perr-Sauer, 2019). Previous research has paid disproportionate attention to the models, including architecture innovation (Bentsen et al., 2023), hyperparameter optimization(Hanifi et al., 2024), and post-processing (Xia et al., 2026). In comparison, input feature selection lacks a mechanistically optimization. Consequently, the atmospheric physics governing wind farm power production remain underrepresented in forecasting.

Traditionally, wind speed at hub height has been the primary feature input into the forecasting models (Mahoney et al., 2012; Ye et al., 2017; Che et al., 2022; Sun & Yang, 2023). This practice originates from the single-turbine power curve, where power can be characterized by a single hub-height wind speed (Turbines—Part, 2005), and could be supported by the strong correlation between the hub-height speed and single turbine power (Clifton et al., 2013). However, this simplification is increasingly challenged by the complex wind farm environments. Since wind farms operate in a boundary layer marked by significant spatial heterogeneity of meterological physics, power forecasting based solely on hub-height wind speed speed lacks reliability (Buhan et al., 2016). Physical studies have demonstrated that the rotor-equivalent wind speed (REWS) (Wagner et al., 2009), which integrates wind profile across the swept area of blades, outperforms single-height measurements in forecasting farm-scale power (Sasser et al., 2022). Moreover, atmospheric stability can induce 15–20% power variation at the same wind speed, with turbulent kinetic energy identified as a dominant modulation factor (Wharton & Lundquist, 2012).

The complexity is further amplified by flow regimes. Wind farms run in the regions encompass both free-stream wake-influeced flows. Turbine wake interactions can cause 10–20% power losses and induce elevated turbulence intensity (Barthelmie et al., 2007; Feroz et al., 2020), meaning that the physical drivers of power production fluctuate dynamically with flow regime and atmospheric stability. More recently, explainable AI studies ranked turbulent variables (i.e., turbulent kinetic energy and turbulence intensity) just behind wind speed in predicting farm-scale power (Optis & Perr-Sauer, 2019; Kim & Kim, 2023). Despite these insights, a gap remains in translating physical knowledge into data-driven forecasting. Most deep learning studies using multi-height data to forecast did not distinguish between flow regimes. This lack of mechanistic differentiation fails to explain persistent anomalies, such as the unexplained high correlation between near-surface winds (e.g., 10-m-height wind speed) and total power output (Rubanenko et al., 2020; Chen & Xu, 2022).

In this study, for bridging the gap between atmospheric flow physics and farm-scale power forecasting, we developed a deep learning-based quantitative framework using wind observations at multi heights (i.e., 10, 30, 50, and 70 m) to forecast the power at a representative wind farm. Our results demonstrate that incorporating multi-height wind profiles and flow-regime-dependent inputs specifically differentiating between free-stream and wake dynamics could significantly promote day-ahead forecasting accuracy. This indicates that the governing atmospheric timescales and vertical structures are necessary to be considered in feature selection for deep learning models. These findings provide a mechanistic explanation for the relevance of non-hub-height winds and offer practical guidance for improving power forecasting driven by Numerical Weather Prediction (NWP).

2 Materials and Methods

2.1 A descriptive heading about methods

3 Data, or a descriptive heading about data

4 Results, or a descriptive heading about the results

5 Conclusions

(All figures and tables should be cited in order.  For initial submission, please embed figures, tables, and their captions within the main text near where they are cited.  At revision, figures should be uploaded separately, as we need separate files for production. Tables and all captions should be moved to the end of the file.)

References should use a name-date format, not numbers. Enclose citations in parentheses with authors in upright text (non italics) as in: (Smith et al., 2009) or Smith et al. (2009). More information on in-text citations can be found in our Brief Style Guide,“Reference Formatting.”

As Applicable – Inclusion in Global Research Statement

The Authorship: Inclusion in Global Research policy aims to promote greater equity and transparency in research collaborations. AGU Publications encourage research collaborations between regions, countries, and communities and expect authors to include their local collaborators as co-authors when they meet the AGU Publications authorship criteria. Those who do not meet the criteria should be included in the Acknowledgement section. We encourage researchers to consider recommendations from The TRUST CODE - A Global Code of Conduct for Equitable Research Partnerships when conducting and reporting their research, as applicable, and encourage authors to include a disclosure statement pertaining to the ethical and scientific considerations of their research collaborations in an “Inclusion in Global Research Statement’ as a standalone section in the manuscript following the Conclusions section. This can include disclosure of permits, authorizations, permissions and/or any formal agreements with local communities or other authorities, additional acknowledgements of local help received, and/or description of end-users of the research. You can learn more about the policy in this editorial. Example statements can be found in the following published papers: Holt et al., Sánchez-Gutiérrez et al., Tully et al. Please note that these statements are titled as “Global Research Collaboration Statements” from a previous pilot requirement in JGR Biogeosciences. The pilot has ended and statements should now be titled “Inclusion in Global Research Statement”.

Acknowledgments

The text ends with an acknowledgment section and statement that includes:

- Any real or perceived financial conflicts of interests for any author

- Other affiliations for any author that may be perceived as having a conflict of interest with respect to the results of this paper.

- Funding information related to the work for all authors should be entered in the form in GEMS as part of your submission. This form in GEMS uses the official Fundref list, which provides a link after publication that is available to funders. Any other funding information not listed in the GEMS form should be included in the acknowledgments and/or cover letter.

It is also the appropriate place to thank colleagues and other contributors. AGU does not normally allow dedications.

Open Research

AGU requires an Availability Statement for the underlying data and code needed to understand, evaluate, and build upon the reported research at the time of peer review and publication. Additionally, authors should include an Availability Statement for the software and other research products that have a significant impact on the research. Details and templates are in the Availability Statement section of the Data & Software for Authors Guidance. For physical samples, use the IGSN persistent identifier, see the International Geo Sample Numbers section.

Conflict of Interest Disclosure

Please include a comprehensive conflict of interest statement that reflect all conflicts of interest for all involved authors. If there are no conflicts of interest please state, “The authors declare there are no conflicts of interest for this manuscript.”

References

Barthelmie, R. J., Frandsen, S. T., Nielsen, M. N., Pryor, S. C., Rethore, P. ‐E., & Jørgensen, H. E. (2007). Modelling and measurements of power losses and turbulence intensity in wind turbine wakes at Middelgrunden offshore wind farm. Wind Energy, 10(6), 517–528. https://doi.org/10.1002/we.238

Bentsen, L. Ø., Warakagoda, N. D., Stenbro, R., & Engelstad, P. (2023). Spatio-temporal wind speed forecasting using graph networks and novel Transformer architectures. Applied Energy, 333, 120565. https://doi.org/10.1016/j.apenergy.2022.120565

Buhan, S., Ozkazanc, Y., & Cadirci, I. (2016). Wind Pattern Recognition and Reference Wind Mast Data Correlations With NWP for Improved Wind-Electric Power Forecasts. IEEE Transactions on Industrial Informatics, 12(3), 991–1004. https://doi.org/10.1109/TII.2016.2543004

Che, Y., A. Salazar, A., Peng, S., Zheng, J., Chen, Y., & Yuan, L. (2022). A multi-scale model for day-ahead wind speed forecasting: A case study of the Houhoku wind farm, Japan. Sustainable Energy Technologies and Assessments, 52, 101995. https://doi.org/10.1016/j.seta.2022.101995

Chen, Y., & Xu, J. (2022). Solar and wind power data from the Chinese State Grid Renewable Energy Generation Forecasting Competition. Scientific Data, 9(1), 577. https://doi.org/10.1038/s41597-022-01696-6

Clifton, A., Kilcher, L., Lundquist, J. K., & Fleming, P. (2013). Using machine learning to predict wind turbine power output. Environmental Research Letters, 8(2), 024009. https://doi.org/10.1088/1748-9326/8/2/024009

Feroz, R. M. A., Javed, A., Syed, A. H., Kazmi, S. A. A., & Uddin, E. (2020). Wind speed and power forecasting of a utility-scale wind farm with inter-farm wake interference and seasonal variation. Sustainable Energy Technologies and Assessments, 42, 100882. https://doi.org/10.1016/j.seta.2020.100882

Hanifi, S., Cammarono, A., & Zare-Behtash, H. (2024). Advanced hyperparameter optimization of deep learning models for wind power prediction. Renewable Energy, 221, 119700. https://doi.org/10.1016/j.renene.2023.119700

Holttinen, H. (2005). Optimal electricity market for wind power. Energy Policy, 33(16), 2052–2063. https://doi.org/10.1016/j.enpol.2004.04.001

Kim, D.-Y., & Kim, B.-S. (2023). Contribution of meteorological factors based on explainable artificial intelligence in predicting wind farm power production using machine learning algorithms. Journal of Renewable and Sustainable Energy, 15(1), 013307. https://doi.org/10.1063/5.0127519

Liu, H., & Zhang, Z. (2024). Development and trending of deep learning methods for wind power predictions. Artificial Intelligence Review, 57(5), 112. https://doi.org/10.1007/s10462-024-10728-z

Mahoney, W. P., Parks, K., Wiener, G., Liu, Y., Myers, W. L., Sun, J., et al. (2012). A Wind Power Forecasting System to Optimize Grid Integration. IEEE Transactions on Sustainable Energy, 3(4), 670–682. https://doi.org/10.1109/TSTE.2012.2201758

Optis, M., & Perr-Sauer, J. (2019). The importance of atmospheric turbulence and stability in machine-learning models of wind farm power production. Renewable and Sustainable Energy Reviews, 112, 27–41. https://doi.org/10.1016/j.rser.2019.05.031

Rubanenko, O., Miroshnyk, O., Shevchenko, S., Yanovych, V., Danylchenko, D., & Rubanenko, O. (2020). Distribution of Wind Power Generation Dependently of Meteorological Factors. In 2020 IEEE KhPI Week on Advanced Technology (KhPIWeek) (pp. 472–477). Kharkiv, Ukraine: IEEE. https://doi.org/10.1109/KhPIWeek51551.2020.9250114

Sasser, C., Yu, M., & Delgado, R. (2022). Improvement of wind power prediction from meteorological characterization with machine learning models. Renewable Energy, 183, 491–501. https://doi.org/10.1016/j.renene.2021.10.034

Sun, H., & Yang, H. (2023). Wind farm layout and hub height optimization with a novel wake model. Applied Energy, 348, 121554. https://doi.org/10.1016/j.apenergy.2023.121554

Turbines—Part, W. (2005). 12-1: Power Performance Measurements of Electricity Producing Wind Turbines. British Standard, IEC, 61400–12.

Wagner, R., Antoniou, I., Pedersen, S. M., Courtney, M. S., & Jørgensen, H. E. (2009). The influence of the wind speed profile on wind turbine performance measurements. Wind Energy, 12(4), 348–362. https://doi.org/10.1002/we.297

Wharton, S., & Lundquist, J. K. (2012). Atmospheric stability affects wind turbine power collection. Environmental Research Letters, 7(1), 014005. https://doi.org/10.1088/1748-9326/7/1/014005

Xia, X., Luo, Y., Li, P., Chang, R., Liao, Z., & Huang, L. (2026). Systematic evaluation of transformer-based time series forecasting models for post-processing WRF-simulated wind speed and predicting short-term power output. Applied Energy, 403, 127070. https://doi.org/10.1016/j.apenergy.2025.127070

Ye, L., Zhao, Y., Zeng, C., & Zhang, C. (2017). Short-term wind power prediction based on spatial model. Renewable Energy, 101, 1067–1074. https://doi.org/10.1016/j.renene.2016.09.069

Figure 1. The figure caption should begin with an overall descriptive statement of the figure followed by additional text. They should be immediately after each figure.  Figure parts are indicated with lower-case letters (a, b, c…).  For initial submission, please place both the figures and captions in the text near where they are cited rather than at the end of the file (not both).  At revision, captions can be placed in-text or at the end of the file, and figures should be uploaded separately. Each figure should be one complete, cohesive file (please do not upload sub-figures or figure parts in separate files). Data that supports the figure must be preserved in a repository, included in the Open Research section, and cited in the References.  Include detailed information on how to recreate the figure in support of transparency (e.g., Python, R library).

Table 1. Start this caption with a short description of your table. Format tables using the Word Table commands and structures. Additional information on table formatting can be found in our Style Guide, Table Formatting.  Do not create tables using spaces or tab characters.   Large tables should not be included in the main text of the paper, but instead preserved as a .csv file in a repository. All data displayed in tables must be preserved in a repository, included in the Open Research section, and cited in the References.

Figure 1. The figure caption should begin with an overall descriptive statement of the figure followed by additional text. They should be immediately after each figure.  Figure parts are indicated with lower-case letters (a, b, c…).  For initial submission, please place both the figures and captions in the text near where they are cited rather than at the end of the file (not both).  At revision, captions can be placed in-text or at the end of the file, and figures should be uploaded separately. Each figure should be one complete, cohesive file (please do not upload sub-figures or figure parts in separate files).

Table 1. Start this caption with a short description of your table. Format tables using the Word Table commands and structures. Additional information on table formatting can be found in our Style Guide, Table Formatting.  Do not create tables using spaces or tabs characters.  Large tables presenting rich data should be presented as separate excel or .csv files, not as part of the main text.